## Tabelle1
Sequence | Acquisition Parameters | used for
3D T1 TFE hrs fhf | TR = 7.47 ms, TE = 3.4 ms, Slices = 450 FOV = 576x576x450, flip angle = 9° voxel size = 0.51x0.51x1 mm | volumetry, brain atlas
T1 FFE sag | TR = 208 ms, TE = 2.237 ms, FOV = 512x512x21, voxel size = 0.39x0.39x3 mm | gradient orientation for 3D T1 sequence
T1W/IR | TR = 3647 ms, TE = 13 ms, T_IR = 460 ms, FOV = 640x640x18, voxel size = 0.25x0.25x2 mm | spectroscopy voxel position
T2 TSE | TR = 3417 ms, TE = 80 ms, FOV = 960x960x30, voxel size = 0.19x0.19x2 mm | spectroscopy voxel position, brain atlas
FLAIR | TR = 11000 ms, TE = 120 ms, T_IR = 2600 ms, FOV = 336x336x20, voxel size = 0.45x0.45x2 mm | Different contrast e.g. for detection of scar tissue
PDw FFE | TR = 950 ms, TE = 2.965 ms, FOV = 224x224x20, voxel size = 0.71x0.71x3 mm | spectroscopy analysis
DTI 28 Jones 20 | TR = 5900 ms, TE = 95 ms, FOV = 256x256x28, voxel size = 0.94x0.94x1.88 mm | FA calculation, fiber tracking
DTI 36 Jones 20 | TR = 5900 ms, TE = 95 ms, FOV = 256x256x36, voxel size = 0.94x0.94x1.88 mm | FA calculation, fiber tracking
PRESS | TR = 2000 ms, TE = 32 ms, averages = 176, voxel size = 8x22x8 mm | relative molecule concentration for central, right and left striatum